## ANALYSIS
Site/Client Name: | ABC Company |  |  | Goes into Cost Analysis & First / Five Year spreadsheet only. | [6 empty] | ============ | = | = | = | ==================== |  | ========= | = | = | = | ========== |  |  | ======= | = | = | ==========
[12 empty] | F I R S T Y E A R | [5 empty] | F I V E Y E A R | [6 empty] | L E A S E P U R C H A S E
Site Street Address: | Any Street |  |  | Actual street address. FERC Requirement. | [6 empty] | C O S T / S A V I N G S C A L C U L A T I O N S | [5 empty] | P R O J E C T E D C O S T / S A V I N G S | [6 empty] | C A S H F L O W C A L C U L A T I O N S
City, State & ZIP: | Any Town USA |  |  | Include City, State & ZIP. | [6 empty] | ============ | = | = | = | ==================== |  | ========= | = | = | = | ========== |  |  | ======= | = | = | ==========
Owner Name: |  |  |  | Actual Owner of Record. FERC Requirement. | [6 empty] | CLIENT NAME: | ABC Company |  |  |  |  | CLIENT NAME: | ABC Company |  |  |  |  | AMOUNT FINANCED: |  |  |  | 949900 |  | Application Date: |  |  |  |  | 2012-03-22
Owner Street Address: | Same |  |  | Actual street address. FERC Requirement. | [6 empty] | SITE ADDRESS: | Any Street |  |  |  |  | SITE ADDRESS: | Any Street |  |  |  |  | CURRENT MONTHLY UTILITY COSTS WITHOUT COGEN: |  |  |  | 160964.6667 |  | Office of the Secretary
City, State & ZIP: | Same | [10 empty] | Any Town USA | [5 empty] | Any Town USA | [10 empty] | Federal Energy Regulatory Commission
[23 empty] | ESTIMATED MONTHLY SAVINGS WITH COGEN: |  |  |  | 80142.4795 |  | 825 N. Capitol Street N.E.
Date of Analysis: | 2012-03-22 |  |  | Goes into Cost Analysis & First / Five Year spreadsheet only. | [6 empty] | PROPOSED EQUIPMENT: | One (1) Model 1063 Jenbacher Engine Generator |  |  |  |  | PROPOSED EQUIPMENT: | One (1) Model 1063 Jenbacher Engine Generator | [10 empty] | Washington, D.C. 20426
[12 empty] | With Hot Water HX and 270 Ton Absorber Chiller | [5 empty] | With Hot Water HX and 270 Ton Absorber Chiller |  |  |  |  | ESTIMATED REMAINING UTILITY COSTS WITH COGEN: |  |  |  | 80822.1871
Proj. On Line Date: |  |  |  | Goes into FERC only. | [6 empty] | PREPARED: | 2012-03-22
[17 empty] | YEAR | ONE | TWO | THREE | FOUR | FIVE | ARBITRARY ANNUAL LEASE PERCENTAGE RATE: |  |  |  | 8% |  | RE: Notice of Self Certification for Qualified Cogeneration Facility.
DATA YEAR GROUP | GAS IN | DOLLAR | [8 empty] | CURRENT GAS CONSUMPTION: |  |  |  | CURRENT ELECTRIC CONSUMPTION: |  | _ | _ | _ | _ | _ | _
| THERMS | AMOUNT | [20 empty] | LENGHT OF LEASE IN MONTHS: |  |  |  | 60 |  | 1. Owner and Operator of the Qualified Facility:
JANUARY | 34000 | 32300 |  | Enter data month by month or annual into any block. | [6 empty] | Annual Gas Expense | 206869 |  |  | Annual Elec Expense | 1523880 |  |  | ANNUAL SAVINGS
FEBRUARY | 36000 | 34200 | [8 empty] | Current Gas Rate | 0.89873 | $/therm |  | Current KWH Rate | 0.13986 | [6 empty] | ESTIMATED MONTHLY LEASE PAYMENT: |  |  |  | 19260.5469 |  |  |  | Same
MARCH | 35500 | 33725 | [8 empty] | Annual Gas Usage | 230180 | therms/yr |  | Annual KWH Used | 10895500 | ELECTRIC | 1429418.0543 | 1472300.5959 | 1516469.6138 | 1561963.7022 | 1608822.6133 | [8 empty] | Same
APRIL | 25000 | 22500 | [8 empty] | Avail. Hot Water Load | 80% |  |  | Annual Demand Expense | 200827 | GAS | 165495.2 | 170460.056 | 175573.8577 | 180841.0734 | 186266.3056 | MONTHLY SAVINGS AFTER LEASE PAYMENT: |  |  |  | 60881.9326 |  | 2. Description of the Qualified Facility:
MAY | 18300 | 16470 | [8 empty] | Hot Water Heater Input | 184144 | therms/yr |  | Average Demand Rate | 11.1788 | DEPRECIATION ** | 57000 | 57000 | 57000 | 57000 | 57000
JUNE | 13680 | 10944 | [8 empty] | Cost of Hot Water Gas | 165495.2 |  |  | Annual Demand KW Used | 17965 | _ | _ | _ | _ | _ | _ | TOTAL AMOUNT PAID OVER LEASE PERIOD: |  |  |  | 1155632.8161 |  | a. Facility uses a reciprocating engine with appropriate
JULY | 8700 | 6090 | [26 empty] | heat recovery equipment (Topping Cycle) | heat recovery equipment (Topping Cycle).
AUGUST | 5600 | 3920 | [8 empty] | COGENERATION GAS SAVINGS: |  |  |  | COGENERATION KILOWATT PRODUCTION: |  | GROSS SAVINGS | 1651913.2543 | 1699760.6519 | 1749043.4715 | 1799804.7756 | 1852088.9189 | TOTAL PROJECTED SAVINGS DURING LEASE PERIOD: |  |  |  | 4737312.2369 |  | b. Electrical Output | b. Electrical Output Capacity in Kilowatts: |  |  |  |  | 1063
SEPTEMBER | 4500 | 3150 | [14 empty] | _ | _ | _ | _ | _ | _ | [6 empty] | c. Useful Thermal Energy Output in BTU/HR: | [5 empty] | 4600000
OCTOBER | 5000 | 3500 | [8 empty] | Heater Efficiency | 85% |  |  | Annual Run Hours | 7800 | [6 empty] | TOTAL PROJECTED SAVINGS OVER 10 YEARS |  |  |  | 10803478.504 |  |  | d. Fuel Input in SCFH (at 1020 BTU/SCF HHV): |  |  |  |  | 9673
NOVEMBER | 10900 | 8720 | [8 empty] | Heater Offset Required | 156522.4 | therms/yr |  | Elec Output (KW) | 1063 |  |  | OPERATING EXPENSES | [10 empty] | e. Facility will be located on site at:
DECEMBER | 33000 | 31350 | [8 empty] | Added Thermal Load | 0 | therms/yr |  | Annual KWH Generated | 8291400 | [15 empty] | Any Street
Total | 230180 | 206869 | [8 empty] | COGEN Thermal Output | 46 | therms/hr |  | Current Rate/KWH | 0.13986 | COGENERATION GAS | 565870.5 | 582846.615 | 600332.0134 | 618341.9739 | 636892.2331 | [9 empty] | Any Town USA
[11 empty] | Thermal Run Hrs Rqd. | 3402.6609 | hours/yr |  | Total KWH Overgenerated | 0 | MAINTENANCE | 124333 | 124333 | 124333 | 130550 | 134466.5 | [7 empty] | f. Projected maximum on line annual run hours are: |  |  |  |  | 7800
DATA YEAR GROUP | ELEC IN | DOLLAR | [8 empty] | Max. Avail. Run Hours | 7800 | hours/yr |  | Utility Sell Back Rate | 0.02 | _ | _ | _ | _ | _ | _ | [7 empty] | g. Annual Effeciency Calculations (MBTU):
| KWH | AMOUNT | [8 empty] | Gas Offset With Cogen | 156522.4 | therms/yr |  | Value of KWH Produced | 1159662.1203
JANUARY | 850000 | 102000 |  | Enter data month by month or annual into any block. | [6 empty] | True Gas Offset Value | 165495.2 |  |  |  |  | TOTAL EXPENSE | 690203.5 | 707179.615 | 724665.0134 | 748891.9739 | 771358.7331 | [7 empty] | Total Fuel in LHV: |  |  |  |  | 69262.5492
FEBRUARY | 825000 | 99000 |  | Verify rate for all hourly periods KWH are billed for. | [12 empty] | _ | _ | _ | _ | _ | _ | [7 empty] | Useful Power Output: |  |  |  |  | 28298.5482
MARCH | 860000 | 103200 | [8 empty] | COGENERATION OPERATIONAL DATA: |  |  |  | COGENERATION DEMAND PRODUCTION: | [14 empty] | Estimated Useful Thermal Energy Output: |  |  |  |  | 14368.7563
APRIL | 870000 | 104400 | [14 empty] | NET ANNUAL SAVINGS | 961709.7543 | 992581.0369 | 1024378.458 | 1050912.8018 | 1080730.1858 | [7 empty] | PURPA Effeciency: |  |  |  |  | 51.23%
MAY | 900000 | 144000 | [8 empty] | Max. Avail. Run Hours | 7800 | hours/yr |  | Annual Demand Generated | 12756 | _ | _ | _ | _ | _ | _
JUNE | 920000 | 147200 | [8 empty] | COGEN Gas Input | 96.73 | therms/hr |  | Current Demand Rate | 11.1788 | [12 empty] | 3. Primary Energy Source: |  |  |  | Natural Gas
JULY | 980000 | 144000 | [8 empty] | Annual COGEN Gas Usage | 754494 | therms/yr |  | Est. 100% Demand Credit | 142596.672 | ACCUMULATED | [11 empty] | 4. Primary Energy Supplied by:
AUGUST | 1000500 | 160080 | [8 empty] | Est COGEN Fuel Rate | 0.75 | $/therm |  | Standby Charge/KW | 3.3 | SAVINGS | 961709.7543 | 1954290.7912 | 2978669.2493 | 4029582.0511 | 5110312.2369 | [6 empty] | 5. Percentage of Utility Ownership: | [5 empty] | 0
SEPTEMBER | 990000 | 158400 | [8 empty] | Est COGEN Fuel Cost | 565870.5 |  |  | Annual Standby Charge | 42094.8 | = | = | = | = | = | = | [6 empty] | 6. Expected Date of Operation:
OCTOBER | 940000 | 150400 | [12 empty] | Demand Credit Available | 100501.872
NOVEMBER | 920000 | 110400 | [8 empty] | CREDITS & REBATES: | [5 empty] | INSTALLATION COST (LESS REBATE) |  |  | 949900 | [8 empty] | Enclosed is the original application and 14 copies. Please return one copy
DECEMBER | 840000 | 100800 | [12 empty] | FIRST YEAR COST/SAVINGS SUMMARY: |  | THREE YEAR MAINTENANCE COST |  |  | 373000 | [8 empty] | stamped with the QF Docket Number and the Date of Filing to the owner.
Total | 10895500 | 1523880 | [8 empty] | Displaced KWH | 166157.5366 | [7 empty] | =
[11 empty] | Displaced Demand | 3096.5254 |  |  | KWH Savings | 1325819.6569 | TOTAL PROJECT COST |  |  | 949900
DATA YEAR GROUP | BILLED | BILLED | [8 empty] | Project Rebate | 844000 |  |  | Demand Savings | 103598.3974 | [12 empty] | Sincerely,
| DEMAND | DEMAND | [9 empty] | = |  |  | Gas Cost Eliminated | 165495.2 | DEPRECIATION TAX BRACKET |  |  | 30%
JANUARY | 1350 | 11475 |  | Enter data month by month or annual into any block. | [6 empty] | TOTAL CREDITS/REBATES | 1013254.062 |  |  | Cogen Fuel Cost | -565870.5
FEBRUARY | 1290 | 10965 |  | Verify rate for all hourly periods Demand is billed for. | [10 empty] | Annual Maint Cost | -124373 | ESTIMATED INFLATION RATE: |  |  | 3%
MARCH | 1400 | 11900 | [8 empty] | F.E.R.C. Efficiency | 53.22% |  |  | Credits/Rebates | 844000 | [12 empty] | _ | _ | _
APRIL | 1450 | 12325 | [13 empty] | = | FIRST YEAR MONTHLY SAVINGS: |  |  | 80142.4795 | [8 empty] | for:
MAY | 1500 | 20250 | [12 empty] | GENERATED SAVINGS | 1748669.7543
JUNE | 1550 | 20925 | [14 empty] | RETURN ON INVESTMENT: |  |  | 107.6%
JULY | 1600 | 21600 | [8 empty] | Proposal is offered based on data supplied by the client.
AUGUST | 1750 | 23625 | [14 empty] | PAYBACK PERIOD (YEARS): |  |  | 0.9294
SEPTEMBER | 1650 | 22275
OCTOBER | 1575 | 21262
NOVEMBER | 1550 | 13175 | [14 empty] | Line Depreciation method and (3) 10% Residual Value.
DECEMBER | 1300 | 11050
Total | 17965 | 200827
Is this Cost/Therm OK? |  | 0.89873 |  | Divides total therms used by dollar amount entered.
Is this Cost/KWH OK? |  | 0.13986 |  | Divides total kilowatts used by dollar amount entered.
Is this Cost/Demand OK? |  | 11.1788 |  | Divides total Demand used by dollar amount entered.
Is Site Time of Use Metered? |  | Yes |  | Enter "Yes" if site is TOU metered. "No" if it is NOT TOU.
Will Run Time be in all periods? |  | Yes |  | Enter "Yes" ONLY if run time WILL be during Metered Periods.
Demand Standby Charge/KW |  | 3.3 |  | Enter the stand by charge amount for all run periods.
Utility Sell Back Rate |  | 0.02 |  | Enter KWH Sell Back Rate ONLY IF CONTRACTING FOR SELL BACK.
Thermal Load Factor |  | 80 |  | What gas costs can cogen hot water offset?
Present Efficiency |  | 85 |  | Existing boiler/heater effeciency NOW. NOT from the data plate.
Closed Thermal Load Percentage |  | 0% |  | "After Hours" hot water USE. Enter "0" if open 8760 hours.
Closed Electric Load Percentage | A | 0% |  | "After Hours" electric USE. Enter "0" if open 8760 hours.
A/C KWH Displaced per year |  | 1188000 |  | Obtain from I.P.I. ONLY. Enter "0" otherwise.
A/C Demand Displaced per year |  | 277 |  | Obtain from I.P.I. ONLY. Enter "0" otherwise.
Useful Thermal Increase per year |  | 0 |  | Obtain from I.P.I. ONLY. Enter "0" otherwise.
Maximum hours open per year |  | 8760 |  | Hours per year open. Analysis sees this as "Available Run Hours".
Average therms / open hour |  | 17.8679 |  | Currently. Used for suggested sizing.
Average kwh / open hour |  | 1108.1621 |  | Currently. Used for suggested sizing.
Average peak demand / month |  | 1474 |  | How many hours a year can the unit(s) logically generate? Overgeneration beyond these hours can not be used for credit!
Thermal Load suggests a ........... |  | 120 |  | Computed from input data.
Electric Load suggests a ............ |  | 120's |  | Computed from input data.
KW Output Setting |  | 1063 |  | Use Spec Sheet! Review Synchronous loading!
Cogen Thermal Input |  | 96.73 |  | Use Spec Sheet! Review Thermal Low & High Setting.
Cogen Thermal Output |  | 46 |  | Use Spec Sheet! Review Thermal Low & High Setting.
Total Effeciency |  | 0.85062 |  | How does this match unit specs?
Run Hrs to Meet Thermal Need |  | 3402.6609 | 43.62% | Computed from Output and Thermal Load.
Estimated Run Hours |  | 7800 |  | Proposed annual run hours. Review thermal and electric Peaks.
RUN HOURS EQUAL OR ARE LESS THAN HOURS OPEN. |  |  |  | Over/Under available run hours. Review against FERC & Payback.
Gas Cost Eliminated is: |  | 229.2% |  | Computed thermal production. Credit is ONLY taken up to 100%.
Current KWH Consummed |  | 10895500 |  | Total annual CURRENTLY used.
Generated KWH |  | 8291400 |  | What will be generated annually. Excess is "SELL BACK".
NOTE - GENERATED KWH DOES NOT EXCEED 90% OF USE. |  |  |  | Over 90% effects Power Factor and may cause sell back.
Electric Cost Eliminated is: |  | 76.1% |  | Computed KWH production. Over 90% MAY result in "SELL BACK".
FERC Percentage (42.5% MIN.) |  | 53.22% |  | Are you above 42.5? If not, look at KW sizing and run hours!
Cogen Gas Rate ($/therm) |  | 0.75 |  | Annual AVERAGE cost. Obtain from the serving gas supplier.
TAXABLE MATERIAL COSTS:
COGENERATION UNIT: |  | 812500 |  | These are the hard equipment costs that are TAXED.
HEAT EXCHANGERS: |  | 125000 |  | Enter all taxable costs in this section.
GAS COMPRESSOR |  | N/A
ABSORBER CHILLER |  | 280000
N/A
PIPE, VALVES & FITTINGS: |  | 85000
EXHAUST PIPING: |  | 15000 | 850400000
ELECTRICAL MATERIALS: |  | 110000
ELECTRIC METER: |  | 8000
GAS METER: |  | 5000
TRANSFORMER |  | N/A
DUCTWORK |  | 20000
INSULATION |  | 12000
TURNKEY MATERIALS |  | Incl.
=
SUBTOTAL TAXABLE MATERIAL COSTS: |  | 1472500
STATE TAX RATE: |  | 8% |  | These two tax entries allow various tax rates to be applied.
APPLICABLE STATE TAX: |  | 0
ADDITIONAL TAX RATE:
APPLICABLE ADDITIONAL TAX: |  | 0
=
TOTAL TAXABLE AMOUNT: |  | 117800 |  | This is the total tax to be collected.
This cost is NOT calculated or SHOWN elsewhere.
ADDITIONAL INSTALLATION COSTS:
ENGINEERING: |  | 30000 |  | These are the Hard installation costs NOT TAXED.
LABOR: |  | 140000
PERMITS: |  | 8000
UTILITY/INTERCONNECTION: |  | 1600
SHIPPING: |  | 12000
RIGGING: |  | 2000
TURNKEY INSTALLATION |  | Incl.
MISCELLANEOUS |  | 10000
=
SUBTOTAL ADDITIONAL COSTS: |  | 203600
Total Cost |  | 1793900
UTILITY REBATE/CREDIT AMOUNT: |  | 844000 |  | Enter amount of Credit or Rebate to be paid.
THREE YEAR MAINTENANCE COST |  | 373000 |  | Enter annual cost for however many units are installed.
=
TOTAL PROJECT COST: |  | 949900 |  | Total Installation Cost shown on Analysis Sheets.
PROJECTED PAYBACK (YEARS): |  | 0.9294 |  | Simple Payback
LEASE PERCENTAGE RATE: |  | 8% |  | Percentage rate client is expected to be at.
LEASE TERM IN MONTHS: |  | 60 |  | Number of months lease is expected to run.
LEASE PAYMENT: |  | 19260.5469 |  | Computed lease payment on Project Cost.
DEPRECIATION TAX BRACKET: |  | 30% |  | Tax bracket used for allowable Depreciation.
Monthly savings WITHOUT Dep.: |  | 75392.4795 |  | Monthly savings calculated without Depreciation.
Over/Under lease payment? |  | 56131.9326 |  | Do the "Savings" exceed costs?
Monthly Savings WITH Dep: |  | 80142.4795 |  | Monthly savings calculated with Depreciation.
Over/Under lease payment? |  | 60881.9326 |  | Do the "Savings" exceed costs?
PRINT DEPRECIATION? (YES/NO): |  | yes |  | Do you want the Depreciation taken and shown when printed?
F.E.R.C. APPLICATION LETTER DATA:
LHV in BTU/CuFt |  | 918 |  | Low Heat Value as supplied by the local Gas Supplier.
Type of Fuel |  | Natural Gas |  | Natural Gas, LPG, etc.
% of Utility Ownership |  | 0 |  | Normally none. NEVER over 10%.
Fuel Supplier |  |  |  | Type full company name. It will appear in the FERC Letter.
To PRINT the Sections: Make sure the printer is loaded and set to
the top of the form. Hold down the "ALT" key and press "a" for the
Cogeneration Analysis; "c" for Costs Sheet; "l" for the Lease
Sheet. Insert Letter Head and press "f" for FERC Letter.
This Feasibility Analysis Spreadsheet has INPUT BLOCKS for you
to enter client information. It then places that data into the
appropriate blocks within the Feasibility Analysis Spreadsheet
Section for review and printing.
Initial Analysis is normally done with First Year Cost Savings
Calculations and Five Year Projected Cost Savings only and printed
separately. The balance of the Analysis requires client financial &
initial engineering input before accurate calculations can be done.
The F.E.R.C. Application MUST be completed when the final
authorization for installation is obtained. This is normally required
by the utility to get the One Line approved.
The blocks within the Feasibility Analysis Spreadsheet Section
are NOT for data entry and are protected.
Begin entering client information in block B1. Utility use data
should be entered month by month or as a single entry into any month.
Totals will appear in the correct Analysis Section blocks.
Continue entering data in the blocks. Verify data with the notes
to the right of the entry blocks.
Carefully review the printed information for correctness. Errors
are normally caused by incorrect data input.
SAVE THE FILE by pressing the "/" key, "F" (for File) and "A"
(for As), type an 8 digit file name (usually referenced to the client)
and press "Enter".
WARNING! EVERYTHING ENCLOSED WITHIN THE DOUBLE LINES
MUST NEVER BE ERASED. ALL PROGRAM MACROS ARE HERE!
| selback*rate |  | -52082
| current + sellback |  | 1471798
0.68
DO NOT ERASE THIS DATA!!!
| TRUE | 4003.1304 | 4003.1304
| 11.1788 | TRUE | 9176.4706
|  | 2.2923 |  | Thermal Contribution | 229.2%
| elec rate |  | 0.13986 | Gas Cost Eliminated | 165495.2
| Used * rate |  | 1523880
| used/generated |  | 1.3141 |  | 85.0859
| current use |  | 10895500
| current expense |  | 1523880
| gened - used |  | -2604100
| overgen = 1 |  | FALSE
Transfer Values
analysis | LEASE |  | ferc letter |  | COSTS |  | And Save | SIX | SEVEN | EIGHT | NINE | TEN
\A | \L |  | \R |  | \C |  |  | 1657087.2917 | 1706799.9104 | 1758003.9078 | 1810744.025 | 1865066.3457 |  |  | 9673
/PBANALYSIS~S | /PBLEASE~AASAFQ |  | /PBFERC~AASAFQ |  | /PBCOST~AASAFQ |  | {paneloff}{windowsoff} | 191854.2948 | 197609.9236 | 203538.2213 | 209644.368 | 215933.699 |  |  | 918 | [7 empty] | {/ Print;Block}{ESC} | {HOME} |  | {/ Print;Block} |  | {HOME}
BANAL2~AFSAFQ | {HOME} |  | {HOME} |  | {HOME} |  | {GOTO}A281~ | 18998 | 18998 | 18998 | 18998 | 18998 |  |  | 8879814 | [7 empty] | {HOME}{BIGRIGHT 2} | {/ Print;Block} |  | {ESC}{HOME} |  | {/ Print;Block}
{HOME} | [6 empty] | /EV{RIGHT 3}{END}{DOWN}{RIGHT 3}~ | 1867939.5865 | 1923407.8341 | 1980540.1291 | 2039386.393 | 2099998.0448 |  |  | 7800 | [7 empty] | {right}.{RIGHT 5} | {ESC}{HOME} |  | {BIGRIGHT 5} |  | {ESC}
[7 empty] | A313~{home} | 655999.0001 | 675678.9701 | 695949.3392 | 716827.8193 | 738332.6539 |  |  | 1063 | [7 empty] | {DOWN 59}{UP 3}~ | {BIGRIGHT 4}{right 5} |  | {RIGHT 5}. |  | {HOME}
[7 empty] | /fa{esc}{esc} | 138500.495 | 142655.5099 | 146935.1751 | 151343.2304 | 155883.5273 |  |  | 3413 | [7 empty] | {/ Print;Align} | .{RIGHT 5} |  | {RIGHT 6} |  | {PGDN 5}
[8 empty] | 794499.4951 | 818334.4799 | 842884.5143 | 868171.0497 | 894216.1812 |  |  | 3628019 | [7 empty] | {/ Print;Go} | {LEFT} |  | {PGDN 2} |  | {DOWN 7}
[8 empty] | 1073440.0914 | 1105073.3542 | 1137655.6148 | 1171215.3432 | 1205781.8635 |  |  | 7800 | [7 empty] | {/ Print;FormFeed} | {PGDN} |  | {RIGHT} |  | .{RIGHT 3}
[8 empty] | 6183752.3283 | 7288825.6825 | 8426481.2973 | 9597696.6405 | 10803478.504 |  |  | 4222800 | [7 empty] | {/ Print;Block}{ESC} | {DOWN 9}~ |  | {DOWN 19} |  | {PGDN 2}{down 10}~
[15 empty] | 3402.6609 | [7 empty] | {RIGHT 7}.{PGDN} | {/ Print;Align} |  | {UP}~ |  | {/ Print;Align}
[15 empty] | 14368.7563 | [7 empty] | {DOWN}{RIGHT 5} | {/ Print;Go} |  | {/ Print;Align} |  | {/ Print;Go}
[15 empty] | 28298.5482 | [7 empty] | {DOWN 38}~ | {/ Print;FormFeed} |  | {/ Print;Go} |  | {/ Print;FormFeed}
[15 empty] | 14368.7563 | [7 empty] | {/ Print;Align} | {HOME} |  | {/ Print;FormFeed} |  | {HOME}
[15 empty] | 0.5 | [7 empty] | {/ Print;Go} | {QUIT} |  | {HOME} |  | {QUIT}
[23 empty] | {/ Print;FormFeed} |  |  | {QUIT}
{HOME}
{QUIT}
current gas | current power | cogen gas | new power |  | net saved
32300 | 113475 | 13791.2667 | 119118.1712 |  | 80142.4795
34200 | 109965 | 13791.2667 | 119118.1712 |  | 80142.4795
33725 | 115100 | 13791.2667 | 119118.1712 |  | 80142.4795
22500 | 116725 | 13791.2667 | 119118.1712 |  | 80142.4795
16470 | 164250 | 13791.2667 | 119118.1712 |  | 80142.4795
10944 | 168125 | 13791.2667 | 119118.1712 |  | 80142.4795
6090 | 165600 | 13791.2667 | 119118.1712 |  | 80142.4795
3920 | 183705 | 13791.2667 | 119118.1712 |  | 80142.4795
3150 | 180675 | 13791.2667 | 119118.1712 |  | 80142.4795
3500 | 171662 | 13791.2667 | 119118.1712 |  | 80142.4795
8720 | 123575 | 13791.2667 | 119118.1712 |  | 80142.4795
31350 | 111850 | 13791.2667 | 119118.1712 |  | 80142.4795
ABC Company | 11.1788 | 11.1788 | 1692043.4715 | 690950 | 1497.0833 | 145775
One (1) Model 1063 Jenbacher Engine Generator | 17965 | 142596.672 | 1742804.7756 | 7800 | 744.1 | 144165
754494 | 200827 | 3.3 | 1795088.9189 | 1429418.0543 | 752.9833 | 148825
-565870.5 | 1931576 | 42094.8 | 1886937.5865 | 165495.2 | 10895500 | 139225
1594913.2543 | 0.8 | Yes | 1904409.8341 | 1594913.2543 | 2604100 | 180720
96.73 | 156522.4 | Yes | 1961542.1291 | -565870.5 | 8291400 | 179069
| 229.2% | 103598.3974 | 2020388.393 | -124373 | 230180 | 171690
72.5475 | 46 | 1594913.2543 | 2081000.0448 | -690243.5 | 671629.2 | 187625
1063 | 46 | 5 | 57000 | 1748669.7543 | -441449.2 | 183825
148.6746 | 3402.6609 | ABC Company | 57000 | -124373 | 1724707 | 175162
21.2173 | 7800 | 2012-03-22 | 57000 | 1185500 | 464543.0077 | 132295
169.892 | 165495.2 | One (1) Model 1063 Jenbacher Engine Generator | 57000 | 688200 | 1260163.9923 | 143200
0.89873 | 7800 | 949900 | 57000 | 8000 | 206869 | 132909.4379
230180 | 1063 | 60 | 94990 | #VALUE! | -732001.5 | 132909.4379
85% | 8291400 | 8% | 19260.5469 | 949900 | -690243.5 | 132909.4379
156522.4 | 0.13986 | 19260.5469 | 850000 | Any Street | 1931576 | 132909.4379
206869 | 0 | 231126.5632 | 825000 | Any Town USA | 182906.2457 | 132909.4379
0.13986 | 0.02 | 57000 | 860000 | 1325819.6569 | 569920.4923 | 132909.4379
10895500 | 1325819.6569 | 1594913.2543 | 870000 | 103598.3974 | 949900 | 132909.4379
1523880 | 12756 | 1642760.6519 | 900000 | 165495.2 | 1805669.7543 | 132909.4379
2012-03-22 | 373000 | 134466.5 | 920000 | -565870.5 | 69778.0629 | 132909.4379
| 124333 | 134466.5 | 980000 | -124373 | 107.6% | 132909.4379
| 124333 | 134466.5 | 1000500 | 1748669.7543 | 0.9294 | 132909.4379
| 130550 | 134466.5 | 990000 | 57000 | 19260.5469 | 132909.4379
| 134466.5 | 134466.5 | 940000 | 1805669.7543 | 3%
920000
840000
CAL-MOLD | 6 | 6 | 271003.32 | 156000 | 666.6667 | 0
ISI 120 I(2) CHILLER | 8000 | 12096 | 284553.486 | 7800 | 168 | 0
171600 | 48000 | 0 | 298781.1603 | 245808 | 498.6667 | 0
-49764 | 354828 | 0 | 334902.7833 | 0 | 4091040 | 0
245808 | 0 | yes | 329406.2292 | 245808 | 2219040 | 0
22 | 0 | yes | 345876.5407 | -49764 | 1872000 | 0
| 0 | 21168 | 363170.3677 | -22000 | 0 | 0
6.38 | 11.2 | 245808 | 381328.8861 | -71764 | 84240 | 0
240 | 11.2 | 5 | 31773.7875 | 174044 | -84240 | 0
18 | 0 | CAL-MOLD | 31773.7875 | -22000 | 354828 | 0
0 | 7800 | DEC. 2, 1994 | 31773.7875 | 212000 | 202332 | 0
18 | 0 | ISI 120 I(2) CHILLER | 31773.7875 | 284064.125 | 152496 | 354828
0 | 7800 | 529564.125 | 31773.7875 | 6000 | 0 | 20484
0 | 240 | 60 | 52956.4125 | 53500 | -71764 | 20484
0 | 1872000 | 0.1 | 11251.6726 | 529564.125 | -71764 | 20484
0 | 0.075 | 11251.6726 | 0 | 17425 E. RAILROAD | 354828 | 20484
0 | 0 | 135020.0717 | 0 | CITY OF INDUSTRY, CA. | 180784 | 20484
0.075 | 0 | 31773.7875 | 0 | 224640 | 80732 | 20484
4091040 | 224640 | 245808 | 0 | 21168 | 529564.125 | 20484
306828 | 2880 | 258098.4 | 0 | 0 | 205817.7875 | 20484
DEC. 2, 1994 | 22000 | 26741.1375 | 0 | -49764 | 17151.4823 | 20484
| 23100 | 26741.1375 | 0 | -22000 | 0.43151 | 20484
| 24255 | 26741.1375 | 0 | 174044 | 2.3174 | 20484
| 25467.75 | 26741.1375 | 0 | 31773.7875 | 11251.6726 | 20484
| 26741.1375 | 26741.1375 | 0 | 205817.7875 | 0.05
0
4091040
NOVEMBER | 0 | 0
DECEMBER | 0 | 0
Total | 0 | 0
DATA YEAR GROUP | ELEC IN | DOLLAR
| KW'S | AMOUNT
JANUARY | 0 | 0 |  | Enter data month by month or annual into any block.
FEBRUARY | 0 | 0 |  | Verify rate for all hourly periods KWH are billed for.
MARCH | 0 | 0
APRIL | 0 | 0
MAY | 0 | 0
JUNE | 0 | 0
JULY | 0 | 0
AUGUST | 0 | 0
SEPTEMBER | 0 | 0
OCTOBER | 0 | 0
NOVEMBER | 0 | 0
DECEMBER | 0 | 0
Total | 0 | 0
DATA YEAR GROUP | BILLED | DEMAND
| DEMAND | CHARGE
JANUARY | 0 | 0 |  | Enter data month by month or annual into any block.
FEBRUARY | 0 | 0 |  | Verify rate for all hourly periods Demand is billed for.
MARCH | 0 | 0
APRIL | 0 | 0
MAY | 0 | 0
JUNE | 0 | 0
JULY | 0 | 0
AUGUST | 0 | 0
SEPTEMBER | 0 | 0
OCTOBER | 0 | 0
NOVEMBER | 0 | 0
DECEMBER | 0 | 0
Total | 0 | 0
Is this Cost/Therm OK? |  | 0 |  | Divides total therms used by dollar amount entered.
Is this Cost/KWH OK? |  | #N/A |  | Divides total kilowatts used by dollar amount entered.
Is this Cost/Demand OK? |  | 0 |  | Divides total Demand used by dollar amount entered.
Is Site Time of Use Metered? |  | yes |  | Enter "Yes" if site is TOU metered. "No" if it is NOT TOU.
Will Run Time be in all periods? |  | yes |  | Enter "Yes" ONLY if run time WILL be during Metered Periods.
Demand Standby Charge/KW |  | 0 |  | Enter the stand by charge amount for all run periods.
Utility Sell Back Rate |  | 0 |  | Enter KWH Sell Back Rate ONLY IF CONTRACTING FOR SELL BACK.
Thermal Load Factor |  | 0 |  | What gas costs can cogen hot water offset?
Present Effeciency |  | 0 |  | Existing boiler/heater effeciency NOW. NOT from the data plate.
Closed Thermal Load Percentage |  | 0% |  | "After Hours" hot water USE. Enter "0" if open 8760 hours.
Closed Electric Load Percentage |  | 0% |  | "After Hours" electric USE. Enter "0" if open 8760 hours.
A/C KWH Displaced per year |  | 0 |  | Obtain from I.P.I. ONLY. Enter "0" otherwise.
A/C Demand Displaced per year |  | 0 |  | Obtain from I.P.I. ONLY. Enter "0" otherwise.
Useful Thermal Increase per year |  | 0 |  | Obtain from I.P.I. ONLY. Enter "0" otherwise.
Maximum hours open per year |  | 0 |  | Hours per year open. Analysis sees this as "Available Run Hours".
Average therms / open hour |  | #N/A |  | Currently. Used for suggested sizing.
Average kwh / open hour |  | #N/A |  | Currently. Used for suggested sizing.
Average peak demand / month |  | 0 |  | How many hours a year can the unit(s) logically generate? Overgeneration beyond these hours can not be used for credit!
Thermal Load suggests a ........... |  | #N/A |  | Computed from input data.
Electric Load suggests a ............ |  | #N/A |  | Computed from input data.
KW Output Setting |  | 0 |  | Use Spec Sheet! Review Synchronous loading!
Cogen Thermal Input |  | 0 |  | Use Spec Sheet! Review Thermal Low & High Setting.
Cogen Thermal Output |  | 0 |  | Use Spec Sheet! Review Thermal Low & High Setting.
Total Effeciency |  | #N/A |  | How does this match unit specs?
Run Hrs to Meet Thermal Need |  | #N/A |  | Computed from Output and Thermal Load.
Estimated Run Hours |  | 0 |  | Proposed annual run hours. Review thermal and electric Peaks.
RUN HOURS EQUAL OR ARE LESS THAN HOURS OPEN. |  |  |  | Over/Under available run hours. Review against FERC & Payback.
Gas Cost Eliminated is: |  | 0% |  | Computed thermal production. Credit is ONLY taken up to 100%.
Current KWH Consummed |  | 0 |  | Total annual CURRENTLY used.
Generated KWH |  | 0 |  | What will be generated annually. Excess is "SELL BACK".
NOTE - GENERATED KWH DOES NOT EXCEED 90% OF USE. |  |  |  | Over 90% effects Power Factor and may cause sell back.
Electric Cost Eliminated is: |  | #N/A |  | Computed KWH production. Over 90% MAY result in "SELL BACK".
FERC Percentage (42.5% MIN.) |  | #N/A |  | Are you above 42.5? If not, look at KW sizing and run hours!
Cogen Gas Rate ($/therm) |  | 0 |  | Annual AVERAGE cost. Obtain from the serving gas supplier.
TAXABLE MATERIAL COSTS:
COGENERATION UNIT: |  | 0 |  | These are the hard equipment costs that are TAXED.
HEAT EXCHANGERS: |  | 0 |  | Enter all taxable costs in this section.
DUMP RADIATOR: |  | 0
PUMPS (2): |  | 0
STORAGE TANK: |  | 0
PIPE, VALVES & FITTINGS: |  | 0
EXHAUST PIPING: |  | 0
ELECTRICAL MATERIALS: |  | 0
ELECTRIC METER: |  | 0
GAS METER: |  | 0
WATER FLOW METER: |  | 0
THERMAL & METER SENSORS |  | 0
INSULATION |  | 0
MISCELLANOUS: |  | 0
=
SUBTOTAL TAXABLE MATERIAL COSTS: |  | 0
STATE TAX RATE: |  | 0% |  | These two tax entries allow various tax rates to be applied.
APPLICABLE STATE TAX: |  | 0
ADDITIONAL TAX RATE: |  | 0%
APPLICABLE ADDITIONAL TAX: |  | 0
=
TOTAL TAXABLE AMOUNT: |  | 0 |  | This is the total tax to be collected.
This cost is NOT calculated or SHOWN elsewhere.
ADDITIONAL INSTALLATION COSTS:
ENGINEERING: |  | 0 |  | These are the Hard installation costs NOT TAXED.
LABOR: |  | 0
PERMITS: |  | 0
UTILITY/INTERCONNECTION: |  | 0
SHIPPING: |  | 0
RIGGING: |  | 0
SALES COMMISSION: |  | 0
PROFIT MARKUP: |  | 0
=
SUBTOTAL ADDITIONAL COSTS: |  | 0
TOTAL COSTS (LESS TAXES): |  | 0
UTILITY REBATE/CREDIT AMOUNT: |  | 0 |  | Enter amount of Credit or Rebate to be paid.
FIRST YEAR MAINTENANCE COST: |  | 0 |  | Enter annual cost for however many units are installed.
=
TOTAL PROJECT COST: |  | 0 |  | Total Installation Cost shown on Analysis Sheets.
PROJECTED PAYBACK (YEARS): |  | #N/A |  | Simple Payback
LEASE PERCENTAGE RATE: |  | 0% |  | Percentage rate client is expected to be at.
LEASE TERM IN MONTHS: |  | 0 |  | Number of months lease is expected to run.
LEASE PAYMENT: |  | #N/A |  | Computed lease payment on Project Cost.
DEPRECIATION TAX BRACKET: |  | 30% |  | Tax bracket used for allowable Depreciation.
Monthly savings WITHOUT Dep.: |  | #N/A |  | Monthly savings calculated without Depreciation.
Over/Under lease payment? |  | #N/A |  | Do the "Savings" exceed costs?
Monthly Savings WITH Dep: |  | #N/A |  | Monthly savings calculated with Depreciation.
Over/Under lease payment? |  | #N/A |  | Do the "Savings" exceed costs?
PRINT DEPRECIATION? (YES/NO): |  | yes |  | Do you want the Depreciation taken and shown when printed?
F.E.R.C. APPLICATION LETTER DATA:
LHV in BTU/CuFt |  | 918 |  | Low Heat Value as supplied by the local Gas Supplier.
Type of Fuel |  | Natural Gas |  | Natural Gas, LPG, etc.
% of Utility Ownership |  | 0 |  | Normally none. NEVER over 10%.
Fuel Supplier |  |  |  | Type full company name. It will appear in the FERC Letter.
To PRINT the Sections: Make sure the printer is loaded and set to
the top of the form. Hold down the "ALT" key and press "a" for the
Cogeneration Analysis; "c" for Costs Sheet; "l" for the Lease
Sheet. Insert Letter Head and press "f" for FERC Letter.
This Feasibility Analysis Spreadsheet has INPUT BLOCKS for you
to enter client information. It then places that data into the
appropriate blocks within the Feasibility Analysis Spreadsheet
Section for review and printing.
Initial Analysis is normally done with First Year Cost Savings
Calculations and Five Year Projected Cost Savings only and printed
separately. The balance of the Analysis requires client financial &
initial engineering input before accurate calculations can be done.
The F.E.R.C. Application MUST be completed when the final
authorization for installation is obtained. This is normally required
by the utility to get the One Line approved.
The blocks within the Feasibility Analysis Spreadsheet Section
are NOT for data entry and are protected.
Begin entering client information in block B1. Utility use data
should be entered month by month or as a single entry into any month.
Totals will appear in the correct Analysis Section blocks.
Continue entering data in the blocks. Verify data with the notes
to the right of the entry blocks.
Carefully review the printed information for correctness. Errors
are normally caused by incorrect data input.
SAVE THE FILE by pressing the "/" key, "F" (for File) and "A"
(for As), type an 8 digit file name (usually referenced to the client)
and press "Enter".
WARNING! EVERYTHING ENCLOSED WITHIN THE DOUBLE LINES
MUST NEVER BE ERASED. ALL PROGRAM MACROS ARE HERE!
| selback*rate |  | 0